VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Content

4.2.1 — Introduction

4.2.2 — Summary

4.2.3 — Breakdown of the lump-sum price

4.2.4 — Daily work schedule

4.2.5 — Detailed breakdown of prices

VOLUME 4.2.1 — INTRODUCTION

1. 	General

1.1	The breakdown of the lump-sum price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This breakdown of the lump-sum price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated:

by the tranches specified in Article 49(1)(a) of the special conditions.

1.2	The detailed breakdown of prices (Volume 4.2.5) is the list which contains the basic costs, net costs and mark-ups, from which each price on the breakdown of the lump-sum price and on the daywork schedule results. The detailed breakdown of prices does not derogate in any way to the clause according to which, in a lump-sum contract, the total contract price remains fixed irrespective of the quantities of work actually carried out.

The detailed breakdown of prices provides the coefficients for applying the price revision formula referred to in Article 48.2 of the special conditions and can provide the basis for valuation of additional work ordered referred to in Article 37.5 of the general conditions.

1.3	Provisional sums for use when works are to be executed on a daywork basis (Volume 4.2.4) can only be executed by administrative order of the supervisor, in accordance with the terms of the contract.

2.	Specific to Volumes 4.2.2, 4.2.3 and 4.2.4

2.1	The item description given in the breakdown of the lump-sum price in no way limits the contractor’s obligations under the contract to provide all the works described elsewhere.

2.2	The prices of the breakdown of the lump-sum price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the contract. Unless separate items are provided in the breakdown of the lump-sum price, prices include all costs involved in the various items of the breakdown.

2.3	The lump–sum price and the prices of the breakdown of the lump-sum price and of the daywork schedule are all-inclusive and include any non-exonerated tax or fiscal duty.

VOLUME 4.2.2 — SUMMARY

| Description | Amount EUR |
| --- | --- |
| Total of lump-sum price |  |
| VAT |  |
| TOTAL PRICE including VAT |  |

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

01.01-BUILDING

| No | Item Code | Description (English) | Unit of | Unit price | Firm quantities | Lump-sum price EUR |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 15.125.1004 | Supply of gravel; machine spreading, watering and compaction | M3 |  |  |  |
|  | Transport.13 | Transport of fine plaster & joint sand | M3 |  |  |  |
| 2 | 15.150.1005 | Ready-mix concrete C25/30 poured by concrete pump (incl. transport) | M3 |  |  |  |
| 3 | 15.160.1002 | Placement of ribbed steel mesh (3.001–10.000 kg/m²) | TON |  |  |  |
|  | Transport.20 | Transport of steel mesh | TON |  |  |  |
| 4 | 15.204.1004 | Supply and installation of PVC-based corrugated drainage pipe with Ø 200 mm nominal diameter | M |  |  |  |
| 5 | 15.220.1014 | Building a wall with 135 mm thick horizontal perforated brick (190 × 135 × 190 mm) | M2 |  |  |  |
|  | Transport.01 | Transport of ordinary cement | TON |  |  |  |
|  | Transport.02 | Transport of quicklime (unslaked lime) | TON |  |  |  |
|  | Transport.04 | Transport of bricks (B/pcs) | unit |  |  |  |
|  | Transport.13 | Transport of fine plaster & joint sand | M3 |  |  |  |
| 6 | 15.250.1111 | Making 2.5 cm thick 400 kg cement dosed screed | M2 |  |  |  |
|  | Transport.01 | Normal Cement Transportation | TON |  |  |  |
|  | Transport.13 | Fine Plaster and Joint Sand Transport | M3 |  |  |  |
| 7 | 15.255.1006 | Two-layer waterproofing with 3 mm thick elastomer-based (blending at -20 °C cold) polyester felt carrier polymer bituminous membranes | M2 |  |  |  |
| 8 | 15.280.1011 | Satin gypsum skim coat (avg. 1 mm) | M2 |  |  |  |
| 9 | 15.310.1202 | Horizontal roof gutter from 14-gauge zinc sheet; supply & install | M |  |  |  |
| 10 | 15.310.1205 | Zinc flashing at chimney edge (12-gauge) | M |  |  |  |
| 11 | 15.330.1007 | Waterproofing under roof covering on pitched roofs (3 mm, -20°C) | M2 |  |  |  |
| 12 | 15.341.3004 | External thermal insulation (ETICS) with rockwool + insulation render | M2 |  |  |  |
| 13 | 15.341.4001 | For applications on flooring in the attic, laying an 8 cm thick uncoated glass wool mattress with a thermal conductivity of 0.035≤λ≤0.040 W/(mK) and a waterproofing membrane open to water vapor transmission on top | M2 |  |  |  |
| 14 | 15.375.1052/ANZ | Floor tiling with 20×70 colored ceramic tiles, 3 mm joints | M2 |  |  |  |
| 15 | 15.390.1050 | Wall and façade cladding with ceramic tiles; 30×60 cm ceramic wall tile, first quality, matte, rectified, including mortar, patterns and joint spacing (with tile adhesive). | M2 |  |  |  |
| 16 | 15.410.1614/ ANZ | Coping with 5 cm thick colored marble slabs | M2 |  |  |  |
| 17 | 15.415.1014 | Flooring with 3 cm light-colored travertine slabs | M2 |  |  |  |
|  | Shipping.01 | Transport of ordinary cement | TON |  |  |  |
|  | Shipping.12 | Transport of crushed stone | M3 |  |  |  |
|  | Shipping.13 | Transport of fine plaster & joint sand | M3 |  |  |  |
| 18 | 15.465.1008 | Wooden joinery and mirrors (chromed) (wood, metal, aluminium membranes). | AD |  |  |  |
| 19 | 15.470.1002 | Install double-glazed window unit (4+4 mm, 12 mm cavity) to timber joinery | M2 |  |  |  |
| 20 | 15.510.1105/ ANZ | Timber swing interior door leaf: fabrication & installation | M2 |  |  |  |
| 21 | 15.520.1001 | Making type wooden built-in wardrobe with 60 cm depth (450 mm) | M2 |  |  |  |
| 22 | 15.520.1002 | Type wooden kitchen counter cabinet (1.68×0.85) – 1.43 | M2 |  |  |  |
| 23 | 15.540.1537 | Applying a primer to new plaster surfaces, applying acrylic water-based semi-matte coats of antibacterial paint (interior) | M2 |  |  |  |
| 24 | 15.560.1003 | Supply and replacement of reinforced concrete composite manhole cover (net opening of the cover is minimum 600 mm) | unit |  |  |  |
| 25 | 21.225/ ANZ | Timber boarding under roof covering (half-lap), pine | M2 |  |  |  |
| 26 | 43.675.1026 | “MAKING COLORED NATURAL STONE, BRASS, WHITE CEMENT, SCALLOPED FLOORING | M2 |  |  |  |
| 27 | 48.220.2001 | Chimney lining in heating plant chimneys with mixed (harman) bricks | M3 |  |  |  |
|  | Shipping.01 | Transport of ordinary cement | TON |  |  |  |
|  | Shipping.04 | Transport of bricks (B/pcs) | unit |  |  |  |
|  | Shipping.13 | Transport of fine plaster & joint sand | M3 |  |  |  |
| 28 | 52.165.1012 | Removal of all types of interior plaster | M2 |  |  |  |
| 29 | 55.117.1028 | 5 cm leveling concrete with cement mortar at dosage required by the Employer | M2 |  |  |  |
| 30 | 74.050.0003 | Demolition of masonry and horasan construction with cement mortar | M3 |  |  |  |
|  | Shipping.22 | Transport of excavation and debris | TON |  |  |  |
| 31 | 77.100.1013 | Removal of all types of exterior plaster | M2 |  |  |  |
|  | Shipping.22 | Transport of excavation and debris | TON |  |  |  |
| 32 | 77.100.1017 | Removal of rain gutters (sheet metal/PVC/zinc etc.) | MT |  |  |  |
| 33 | 77.100.1027 | Dismantling cast mosaic | M2 |  |  |  |
| 34 | 77.100.1031 | Removal of wooden parquet and wooden floor covering | M2 |  |  |  |
| 35 | 77.100.1034 | Removal of timber door frames/leaves, windows and shopfront glazing | M2 |  |  |  |
| 36 | 77.100.1039 | Removal of timber suspended ceiling | M2 |  |  |  |
| 37 | ANALYSIS 3 | Construction of ceiling cladding subframe | M2 |  |  |  |
| 38 | ANALYSIS – ZINC DOWNPIPE | Ø120 mm vertical rainwater pipe from 14-gauge zinc | MT |  |  |  |
| 39 | ANALYSIS – ESPAGNOLETTE | Antique cast espagnolette for windows: fabrication & installation | ADET |  |  |  |
| 40 | ANALYSIS – HINGE | Antique cast hinges for windows/doors: fabrication & installation | AD |  |  |  |
| 41 | ANALYSIS – BASEMENT HINGE | Antique cast basement door hinge: fabrication & installation | AD |  |  |  |
| 42 | KTB.10.3001 | Timber works using pine lumber (1st class) | M3 |  |  |  |
| 43 | KTB.10.3003 | Making wooden reinforcement including timber, bolts, nuts and accessories (for ceilings, flooring and walls) | M3 |  |  |  |
| 44 | KTB.10.6303/ANZ | Corner bead/batten in 5×5 cm pine (1st class): fabrication & install | MT |  |  |  |
| 45 | KTB.10.7002 | Making (10×25) cm sized board with white pine, using 1st class oak timber | MT |  |  |  |
| 46 | KTB.10.7004 | Profiled toothed skirting (10×2.5 cm) in 1st class pine | MT |  |  |  |
| 47 | KTB.10.7502 | Eaves fascia board (25–30 cm wide, 3.5 cm thick) in 1st class pine | MT |  |  |  |
| 48 | KTB.10.8002 | Classic profiled architrave/casing (10–15 cm, 2.5 cm thick) in 1st class pine | MT |  |  |  |
| 49 | KTB.10.8311 | Profiled toothed wall band (16–20 cm, 2.5 cm thick) in 1st class pine | MT |  |  |  |
| 50 | KTB.11.1004 | Establishing Exterior Working Scaffolding, including Transport, Steel Flange, Special Fasteners | M2 |  |  |  |
|  | Shipping.18 | Transport of ribbed steel | TON |  |  |  |
|  | Shipping.19 | Transport of sheet metal | TON |  |  |  |
| 51 | KTB.11.1005 | Establishing Indoor Working Scaffolding at Any Height, including Transport, Steel Flange, Special Fasteners | M3 |  |  |  |
|  | Shipping.18 | Transport of ribbed steel | TON |  |  |  |
|  | Shipping.19 | Transport of sheet metal | TON |  |  |  |
| 52 | KTB.21.2001 | Gypsum plaster over existing plaster (avg. 6 mm), trowel-finished | M2 |  |  |  |
|  | Shipping.02 | Transport of quicklime (unslaked lime) | TON |  |  |  |
|  | Shipping.13 | Transport of fine plaster & joint sand | M3 |  |  |  |
| 53 | KTB.30.1005/ANZ | Machine sanding (sistre) and varnishing of timber floor | M2 |  |  |  |
| 54 | KTB.51.1003 | Timber “yalıbaskısı” works using 1st class pine | M2 |  |  |  |
| 55 | KTB.51.4003 | Timber wall cladding subframe (external façade) | M2 |  |  |  |
| 56 | KTB.90.1011 | Removing a wooden column (column) | MT |  |  |  |
| 57 | KTB.90.2001 | Removing all types of PVC rain gutters and downpipes | MT |  |  |  |
| 58 | KTB.90.4001 | Removing (5–12) cm high profile decorative skirting board | MT |  |  |  |
| 59 | KTB.90.5001 | Removing (10–30) cm wide classic profile embroidered wooden armpit molding | MT |  |  |  |
| 60 | KTB.90.5002 | Removing (10–15) cm wide profile engraved classic wooden armpit molding | MT |  |  |  |
| 61 | KTB.90.6001 | Tile removal | M2 |  |  |  |
| 62 | KTK-0227/4 | Price of travertine cut stone on flat surface or curved surface, hardness degree is 1.75–2 | M3 |  |  |  |
|  | Transport.11 | Transport of stone | M3 |  |  |  |
| 63 | KTK-1997/1 | Load-bearing beam using 1st class hard/medium-hard timber (25–50 cm) | M3 |  |  |  |
| 64 | PRJ.01 | COATING REMOVAL INCLUDING WOODEN LADDER, PARTITION WALL, CEILINGS | M2 |  |  |  |
| 65 | PRJ.02 | Applying smooth plaster on old walls/faces using Khorasan mortar, with a trowel or steel trowel | M2 |  |  |  |
| 66 | PRJ.03 | CARVING PAINT ON ANY KIND OF WOODEN SURFACE THAT WILL NOT BE REPAINTED | M2 |  |  |  |
| 67 | V.0209/02 | Cost of Stone Found in Rubble Stone Wall | M3 |  |  |  |
|  | Transport.11 | Transport of stone | M3 |  |  |  |
| 68 | V.0227/05B1 | Rough dressing stone cost for travertine/shell limestone | M3 |  |  |  |
|  | Transport.11 | Transport of stone | M3 |  |  |  |
| 69 | V.0238/01 | Classic roof tile material cost (roof covering) | M2 |  |  |  |
| 70 | V.0241/01 | Classic ridge tile material cost (ridge covering) | MT |  |  |  |
| 71 | V.0301/01 | Careful dismantling of horasan-mortared masonry | M3 |  |  |  |
| 72 | V.0301/A1A | Careful breaking of RC slab/beam/column without damaging original surfaces | M3 |  |  |  |
| 73 | V.0315/B1 | Removal of dressed-stone/marble steps | MT |  |  |  |
| 74 | V.0333 | Removal of simple iron railings/doors/shopfronts/windows | M2 |  |  |  |
| 75 | V.0337 | Removal of screed | M2 |  |  |  |
| 76 | V.0338/03 | Careful dismantling of timber frame (walls/floors/ceilings) | M3 |  |  |  |
| 77 | V.0339/02 | Careful dismantling of timber floorboards (without joists) | M2 |  |  |  |
| 78 | V.0341 | Collection of Marseille-type roof tiles | M2 |  |  |  |
| 79 | V.0341/A1 | Collection and disposal of classic roof tiles | M2 |  |  |  |
| 80 | V.0342/A01 | Dismantling of timber roof | M2 |  |  |  |
| 81 | V.0349/01 | Demolition/rotting-out of brick or rubble stone walls (anywhere) | M3 |  |  |  |
| 82 | V.0401/01C | Careful removal of plaster from rubble stone surfaces plastered with cement mortar, ensuring that the substrate is not damaged and no residue remains after scraping, with a scraping depth of 0–5 cm. | M2 |  |  |  |
| 83 | V.0502/A | Excavation: debris + soil mixed spoil in historical building | M3 |  |  |  |
| 84 | V.0511/02 | Excavation in hard soil within original load-bearing wall boundary | M3 |  |  |  |
| 85 | V.0902/B02 | Rubble stone wall construction labor with 500-dosage hydraulic lime mortar | M3 |  |  |  |
|  | Transport.02 | Transport of quicklime (unslaked lime) | TON |  |  |  |
|  | Transport.13 | Transport of fine plaster & joint sand | M3 |  |  |  |
| 86 | V.1253 | Moulded cornice in dressed stone (11–15 cm height): labor & install | MT |  |  |  |
|  | Transport.01 | Transport of ordinary cement | TON |  |  |  |
|  | Transport.13 | Transport of fine plaster & joint sand | M3 |  |  |  |
| 87 | V.1660/F01 | Rough plaster with horasan mortar | M2 |  |  |  |
|  | Transport.02 | Transport of quicklime (unslaked lime) | TON |  |  |  |
|  | Transport.13 | Transport of fine plaster & joint sand | M3 |  |  |  |
| 88 | V.1661/A1 | Undercoat filling plaster with hydraulic lime mortar on uneven flat/curved walls | M2 |  |  |  |
|  | Transport.02 | Transport of quicklime (unslaked lime) | TON |  |  |  |
|  | Transport.13 | Transport of fine plaster & joint sand | M3 |  |  |  |
| 89 | V.1667/1 | Smooth plaster on lath (bağdadi) surfaces with “kıtıklı” lime mortar | M2 |  |  |  |
|  | Transport.02 | Transport of quicklime (unslaked lime) | TON |  |  |  |
|  | Transport.13 | Transport of fine plaster & joint sand | M3 |  |  |  |
| 90 | V.1674 | Fixing rabitz (expanded metal lath) under plaster | M2 |  |  |  |
| 91 | V.1731/4 | Application of transparent protective coating (Paraloid B72 5%) on dressed stone | M2 |  |  |  |
| 92 | V.1775/A | Pointing/jointing on rubble stone wall with hydraulic lime horasan mortar | M2 |  |  |  |
|  | Transport.02 | Transport of quicklime (unslaked lime) | TON |  |  |  |
|  | Transport.13 | Transport of fine plaster & joint sand | M3 |  |  |  |
| 93 | V.1798/01 | Timber-roof (seating roof) with non-standard pine lumber, timber-clad | M3 |  |  |  |
| 94 | V.1860/001 | Roof covering works with new classic roof tiles (labor) | M2 |  |  |  |
| 95 | V.1862 | Ridge works with classic tiles (labor) | MT |  |  |  |
|  | Transport.01 | Transport of ordinary cement | TON |  |  |  |
|  | Transport.02 | Transport of quicklime (unslaked lime) | TON |  |  |  |
|  | Transport.13 | Transport of fine plaster & joint sand | M3 |  |  |  |
| 96 | V.1865 | Factory-painted galvanized sheet metal monoblock gutter/valley/downpipe; install | MT |  |  |  |
| 97 | V.1989/ANZ | Making classic profiled under-seat moulding and mirror architrave using first-class pine timber, 10–20 cm in width and 2–3.5 cm in thickness. | MT |  |  |  |
| 98 | V.1990/A03 | Construction of a tongue-and-groove wooden ceiling using first-class pine timber, single-directional, with classic profiled and moulded slats (battens with sections of approx. 1.5×2 cm to 1.5×4 cm), 2 cm thickness and 15–20 cm width. | M2 |  |  |  |
| 99 | V.1991 | Timber lath (bağdadi) installation on ceiling or wall | M2 |  |  |  |
| 100 | V.1994/01 | Timber staircase without handrail/guardrail | MT |  |  |  |
| 101 | V.1997/01 | Manufacture and installation of load-bearing columns and beams made of first-quality pine timber, with a cross-sectional area greater than 225 cm² (including 225 cm²), in large square, rectangular or polygonal sections, or round sections with a diameter greater than 15 cm (including 15 cm). | M3 |  |  |  |
| 102 | V.2002/02 | Construction of framed wooden flooring using first-class pine timber, planed, with a thickness of 2.5–3 cm and a minimum width of 16 cm. | M2 |  |  |  |
| 103 | V.2007 | Classic panelled door/shutter leaf (up to 4 panels per leaf) | M2 |  |  |  |
| 104 | V.2027/C004/A | Profiled chamfered overlap strip for panelled doors/shutters | MT |  |  |  |
| 105 | V.2030/B | Classic timber window/door frame (up to 5 cm thickness) | M2 |  |  |  |
| 106 | V.2040/A1 | Classic single-sash flat (non-arched) timber window; supply & install | M2 |  |  |  |
| 107 | V.2041/1 | Timber sill board 25×5 cm | MT |  |  |  |
| 108 | V.2044/01 | Classic flat architrave for doors/windows (10–15 cm wide) | MT |  |  |  |
| 109 | V.2050/A02 | Classic profiled handrail with balustrade; supply & install | M2 |  |  |  |
| 110 | V.2105/A2 | Two coats breathable transparent water-based wood preservative on flat timber surfaces | M2 |  |  |  |
| 111 | V.2105/B1 | Two coats breathable semi-transparent (tinted) water-based wood preservative on profiled timber surfaces | M2 |  |  |  |
| 112 | V.2105/D2 | Two coats breathable transparent water-based wood preservative on classic slatted timber ceilings | M2 |  |  |  |
| 113 | V.2105/E2 | 3 coats water-based, two-component PU resin, full-matte varnish (scratch resistance certified) | M2 |  |  |  |
| 114 | V.2105/F2 | Application of water-based fire-retardant solution on timber elements | M2 |  |  |  |
| 115 | V.2109 | Timber impregnation by dipping method | M3 |  |  |  |
| 116 | V.2109/1 | 3-coat brush-on impregnation for timber works (all surfaces) | M2 |  |  |  |

02.01 – ELECTRIC

| No | Item No | Description | Unit of | Unit price | Firm quantities | Lump-sum price EUR |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 35.100.2203 | Recessed type galvanized sheet metal tables up to 0.20 - 0.30m2 (including 0.30 m2) | Unit |  |  |  |
| 2 | 35.100.6403 | Surface mounted sheet metal table up to 0.20 - 0.30m2 (including 0.30 m2) (TS 3367 EN 60439-1 ) | Unit |  |  |  |
| 3 | 35.105.1210 | Switched circuit breaker up to 16 A. (at least 6kA) | Unit | - | - |  |
| 4 | 35.105.1332 | Three-phase circuit breaker with switch up to 40 A (at least 10kA) | Unit | - | - |  |
| 5 | 35.115.1020 | Residual current protection switch up to 4*25 A (30ma) | Unit | - | - |  |
| 6 | 35.115.1061 | Residual current protection switch up to 4*40 ae (300ma) | Unit | - | - |  |
| 7 | 35.140.1104 | 16mm2 Bare braided or solid copper wire (in the same pipe as the main column line in PVC pipe installation) main and secondary table grounding line | MT |  |  |  |
| 8 | 35.150.2213 | Column and feed line installation with 5x6 mm2 N2XH type 1KV underground cables | MT |  |  |  |
| 9 | 35.160.3331 | Line and sortie lines lead-free antigron (NHXMH) ethane lighting normal sortie | Unit |  | - |  |
| 10 | 35.160.3332 | Line and sortie lines lead-free antigron (NHXMH) ethane lighting commutator sortie | Unit |  | - |  |
| 11 | 35.160.3334 | Line and sortie lines lead-free antigron (NHXMH) ethane lighting parallel sortie | Unit |  | - |  |
| 12 | 35.160.3503 | Line and sortie lines are made of lead-free antigron (NHXMH) type material and are sealed with normal socket sortie (with Safety Line). | Unit |  | - |  |
| 13 | 35.170.1503 | Surface mounted, LED circular (downlight) luminaire (luminous flux at least 800 lm, luminous efficiency of the luminaire at least 100 lm/w) | Unit |  |  |  |
| 14 | 35.750.4002 | Ground electrode (rod) electrolytic copper | MT |  |  |  |
| 15 | V.2203 | Making and installing antique ceiling fixtures | Unit |  |  |  |
| 16 | V.2203/2 | Making and installing an external type small wall lamp | Unit |  |  |  |

03.01 – Installation

| No | Item No | Description | Unit of | Unit price | Firm quantities | Lump-sum price EUR |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 25.100.1006 | 36x44 cm under or above counter oval sink | unit |  |  |  |
| 2 | 25.112.1201 | Approximately 35x55 cm (extra quality) white latrine with self-contained cistern and low water consumption (TS EN 997+A1) | TK |  |  |  |
| 3 | 25.118.1201 | Stainless steel approximately 50x100 cm one bowl drainer sink (TS EN 13310) | unit | - | - |  |
| 4 | 25.120.1102 | One bowl sink installation with faucet and special plastic bowl (first class) siphon | unit | - | - |  |
| 5 | 25.125.2304 | 100x80x11 cm rectangular white acrylic panel shower tray | unit | - | - |  |
| 6 | 25.130.1201 | 1/2 inch intermediate tap, including rosette with classic packing (according to TS EN 200) | unit | - | - |  |
| 7 | 25.130.1303 | 1/2" Chromed laundry tap, with ceramic shaft seal, including tap rosette. | unit |  |  |  |
| 8 | 25.130.3201 | Single handle, single body, sink mixer | unit |  |  |  |
| 9 | 25.130.3302 | Single remote shower mixer | unit |  | - |  |
| 10 | 25.142.1102 | Cold water meter 25Ømm with 1" screw. | unit |  | - |  |
| 11 | 25.305.2101 | Pn 20 polypropylene 1/2" ø20/3.4 mm clean water pipes | MT |  | - |  |
| 12 | 25.305.2102 | Pn 20 polypropylene 3/4" ø25/4.2 mm clean water pipes | MT |  | - |  |
| 13 | 25.305.4102 | Nominal size 3/4" outer diameter/wall thickness 25/3.5 mm PN 25 glass fiber reinforced polypropylene composite pp-rc pipe | MT |  |  |  |
| 14 | 25.305.6102/A | Hard PVC plastic waste water pipe outer diameter 75-70/3.0 mm (fitting or adhesive spigot) (Fittings, cover addition, fixing material and gasket replacement pipe installation material cost included) | MT |  |  |  |
| 15 | 25.305.6103/A | Hard PVC plastic waste water pipe outer diameter 100-110/3.0 mm (fitting or adhesive spigot) (Fittings, cover addition, fixing material and gasket replacement pipe installation material cost included) | MT |  |  |  |
| 16 | 25.312.1103 | Horizontal type ; 75 Ø mm waste water non-return valve | unit |  |  |  |
| 17 | 25.312.1201 | Flap type; 100 Ø mm manhole flap | unit |  |  |  |
| 18 | 25.732.1104 | 6kg ABC dry chemical powder portable fire extinguisher | unit |  |  |  |

| No | Works | Value in EUR |
| --- | --- | --- |
| 1 | 01.01-BUILDING |  |
| 2 | 02.01 – ELECTRIC |  |
| 3 | 03.01 – Installation |  |
|  | Total lump-sum price |  |